## Slide 1
TRAVISTILLEY.COM / TRAINING CENTER
Permit-Required Confined Space Awareness
Professional downloadable safety training
TRAINING OUTCOME
Recognize confined spaces and permit-required confined spaces
AUDIENCE
Employees who may work around confined spaces
TIME
35-45 min
REFERENCE
29 CFR 1910.146
USE NOTE
Awareness training only unless the employer uses it as part of a complete role-specific program. Entrants, attendants, entry supervisors and rescue personnel require assigned-duty training and proficiency.
TRAVISTILLEY.COM / PROFESSIONAL SAFETY TRAINING
1 / 17
Notes: Opening: Connect Permit-Required Confined Space Awareness to the actual work employees perform. Awareness training only unless the employer uses it as part of a complete role-specific program. Entrants, attendants, entry supervisors and rescue personnel require assigned-duty training and proficiency.

## Slide 2
WHY THIS MATTERS
Start with the hazard. Build the safe decision.
Use this slide to connect the topic to what employees actually see, touch, drive or do.
What is a confined space?
Large enough and configured so an employee can bodily enter and perform work.
When it becomes permit-required
Potential hazardous atmosphere.
Atmospheric hazards
Oxygen deficiency/enrichment, toxic gases/vapors and flammable atmospheres require appropriate testing/control.
ASK THE ROOM
01
Where could this go wrong here?
02
What control keeps us safe?
03
What should make us stop?
TRAVISTILLEY.COM / PROFESSIONAL SAFETY TRAINING
2 / 17
Notes: Ask employees for examples from their own work area. Capture site-specific examples for later slides.

## Slide 3
LEARNING OBJECTIVES
What employees should be able to do
Keep the session practical: recognize the hazard, choose the control, know when to stop.
01
Recognize confined spaces and permit-required confined spaces
02
Identify atmospheric, engulfment, configuration and other serious hazards
03
Understand entrant, attendant and entry-supervisor roles
04
Know why unauthorized entry and unplanned rescue are deadly
TRAVISTILLEY.COM / PROFESSIONAL SAFETY TRAINING
3 / 17
Notes: Read each objective and identify which objective will need workplace-specific demonstration or examples.

## Slide 4
MODULE 1 / 6
What is a confined space?
Start with what the employee is exposed to.
Large enough and configured so an employee can bodily enter and perform work.
Limited/restricted means for entry or exit.
Not designed for continuous employee occupancy.
FIELD DECISION
01
Where could this fail?
02
What control do we use?
03
What makes us stop?
TRAVISTILLEY.COM / PROFESSIONAL SAFETY TRAINING
4 / 17
Notes: Trainer notes - What is a confined space?,Large enough and configured so an employee can bodily enter and perform work.,Limited/restricted means for entry or exit.,Not designed for continuous employee occupancy.,Ask for one real workplace example and one stop-work trigger.

## Slide 5
MODULE 2 / 6
When it becomes permit-required
Tie every point to a visible action or decision.
Potential hazardous atmosphere.
Potential engulfment.
Internal configuration that could trap/asphyxiate.
Any other recognized serious safety or health hazard.
FIELD DECISION
01
What changes the risk?
02
What must the employee do?
03
Who needs to know?
TRAVISTILLEY.COM / PROFESSIONAL SAFETY TRAINING
5 / 17
Notes: Trainer notes - When it becomes permit-required,Potential hazardous atmosphere.,Potential engulfment.,Internal configuration that could trap/asphyxiate.,Any other recognized serious safety or health hazard.,Ask for one real workplace example and one stop-work trigger.

## Slide 6
MODULE 3 / 6
Atmospheric hazards
Tie every point to a visible action or decision.
Oxygen deficiency/enrichment, toxic gases/vapors and flammable atmospheres require appropriate testing/control.
Never trust smell or appearance.
Testing and ventilation must follow the employer program.
FIELD DECISION
01
Where could this fail?
02
What control do we use?
03
What makes us stop?
TRAVISTILLEY.COM / PROFESSIONAL SAFETY TRAINING
6 / 17
Notes: Trainer notes - Atmospheric hazards,Oxygen deficiency/enrichment, toxic gases/vapors and flammable atmospheres require appropriate testing/control.,Never trust smell or appearance.,Testing and ventilation must follow the employer program.,Ask for one real workplace example and one stop-work trigger.

## Slide 7
MODULE 4 / 6
Roles and communication
Tie every point to a visible action or decision.
Authorized entrants understand hazards and equipment, communicate status and exit when required.
Attendants remain outside, monitor entrants/conditions and summon rescue.
Entry supervisors verify the permit/conditions and authorize/cancel entry.
FIELD DECISION
01
What changes the risk?
02
What must the employee do?
03
Who needs to know?
TRAVISTILLEY.COM / PROFESSIONAL SAFETY TRAINING
7 / 17
Notes: Trainer notes - Roles and communication,Authorized entrants understand hazards and equipment, communicate status and exit when required.,Attendants remain outside, monitor entrants/conditions and summon rescue.,Entry supervisors verify the permit/conditions and authorize/cancel entry.,Ask for one real workplace example and one stop-work trigger.

## Slide 8
MODULE 5 / 6
Isolation and permit controls
Tie every point to a visible action or decision.
Lockout/tagout, blanking/blinding, line breaking, ventilation, barriers and other controls may be needed.
The entry permit documents acceptable conditions, testing, entrants, attendants, supervisor, rescue and other required information.
FIELD DECISION
01
Where could this fail?
02
What control do we use?
03
What makes us stop?
TRAVISTILLEY.COM / PROFESSIONAL SAFETY TRAINING
8 / 17
Notes: Trainer notes - Isolation and permit controls,Lockout/tagout, blanking/blinding, line breaking, ventilation, barriers and other controls may be needed.,The entry permit documents acceptable conditions, testing, entrants, attendants, supervisor, rescue and other required information.,Ask for one real workplace example and one stop-work trigger.

## Slide 9
MODULE 6 / 6
Rescue without creating more victims
Tie every point to a visible action or decision.
Would-be rescuers entering without training/equipment can become victims.
Use the designated rescue system and non-entry retrieval when feasible/required.
Know how to summon rescue before entry starts.
FIELD DECISION
01
What changes the risk?
02
What must the employee do?
03
Who needs to know?
TRAVISTILLEY.COM / PROFESSIONAL SAFETY TRAINING
9 / 17
Notes: Trainer notes - Rescue without creating more victims,Would-be rescuers entering without training/equipment can become victims.,Use the designated rescue system and non-entry retrieval when feasible/required.,Know how to summon rescue before entry starts.,Ask for one real workplace example and one stop-work trigger.

## Slide 10
STOP-WORK / RED-FLAG CONDITIONS
These are the moments to slow down and regain control.
01
Employee intends to “just stick my head in” an unassessed space
02
Atmosphere has not been tested as required
03
No attendant/rescue arrangement for a permit entry
04
Isolation depends only on a control switch
TRAVISTILLEY.COM / PROFESSIONAL SAFETY TRAINING
10 / 17
Notes: Ask which red flag is easiest to miss during a busy shift. Reinforce the site stop-work/escalation process.

## Slide 11
SCENARIO DISCUSSION
What would you do next?
Give the group 30-60 seconds before revealing the recommended response.
A worker collapses inside a permit space. A coworker at the opening wants to climb in immediately to pull them out. What is the correct response?
DISCUSS
01
What is the hazard?
02
What control is missing?
03
What is the safest next action?
04
What is our site rule?
RECOMMENDED RESPONSE
Do not make an unplanned entry. Follow the rescue plan, summon the designated rescue capability and use non-entry retrieval where appropriate and provided.
TRAVISTILLEY.COM / PROFESSIONAL SAFETY TRAINING
11 / 17
Notes: Recommended response: Do not make an unplanned entry. Follow the rescue plan, summon the designated rescue capability and use non-entry retrieval where appropriate and provided.,Ask employees to name the site-specific action and who they would contact.

## Slide 12
SITE-SPECIFIC APPLICATION
This is where generic training becomes your program.
Replace examples with your actual equipment, procedures, hazards and expectations.
✓
Identify and label actual confined/permit spaces
✓
Review permit-space program and prohibited entry rules
✓
Show monitoring, ventilation, isolation and retrieval equipment
✓
Explain entrant/attendant/supervisor/rescue roles and emergency contacts
BEFORE WORK
01
Show the actual procedure
02
Show the actual equipment/task
03
Confirm questions are answered
04
Complete required evaluation
TRAVISTILLEY.COM / PROFESSIONAL SAFETY TRAINING
12 / 17
Notes: Use this slide to bridge classroom instruction to employer-specific training and verification.

## Slide 13
PRACTICAL / WORKPLACE VERIFICATION
Can the employee apply it?
Written knowledge matters. Safe performance in the real workplace matters more.
Recognizes confined/permit space
Identifies likely hazards
Explains no-entry rule without authorization
Identifies assigned roles
Explains testing/isolation basics
Describes rescue activation without impulsive entry
Use the included evaluation form when hands-on demonstration or workplace verification is appropriate or required.
TRAVISTILLEY.COM / PROFESSIONAL SAFETY TRAINING
13 / 17
Notes: Explain who is qualified/authorized to evaluate this at your company and what constitutes acceptable performance.

## Slide 14
KNOWLEDGE CHECK / PART 1
Knowledge check 1-5
Use the printable test in the course package for employee responses.
1
A confined space is generally:
2
A permit-required confined space can involve:
3
Atmospheric testing should rely on:
4
The attendant normally:
5
The entry supervisor:
TRAVISTILLEY.COM / PROFESSIONAL SAFETY TRAINING
14 / 17
Notes: Do not coach answers while employees are testing. Review missed items afterward and document any retraining needed.

## Slide 15
KNOWLEDGE CHECK / PART 2
Knowledge check 6-10
Use the printable test in the course package for employee responses.
6
Isolation may require:
7
If an entrant is in distress, an untrained coworker should:
8
Rescue capability should be:
9
Permit-space training must establish:
10
This awareness course alone qualifies someone as entrant, attendant or entry supervisor.
TRAVISTILLEY.COM / PROFESSIONAL SAFETY TRAINING
15 / 17
Notes: Do not coach answers while employees are testing. Review missed items afterward and document any retraining needed.

## Slide 16
TAKE IT BACK TO THE FLOOR
Know the hazard. Use the control. Stop when it is not right.
01
Recognize confined spaces and permit-required confined spaces
02
Employee intends to “just stick my head in” an unassessed space
03
Identify and label actual confined/permit spaces
NEXT STEPS
01
Answer questions
02
Complete site-specific training
03
Complete required hands-on evaluation
04
Document attendance/completion
TRAVISTILLEY.COM / PROFESSIONAL SAFETY TRAINING
16 / 17
Notes: Close by asking for questions. Confirm what site-specific training/evaluation remains before employees perform the task independently.

## Slide 17
REFERENCE / USE NOTE
Use this package as a strong training foundation.
Always align the material to current requirements, manufacturer instructions and your own procedures.
Primary reference
29 CFR 1910.146
Training use note
Awareness training only unless the employer uses it as part of a complete role-specific program. Entrants, attendants, entry supervisors and rescue personnel require assigned-duty training and proficiency.
BEFORE YOU DELIVER
✓
Confirm current OSHA/state-plan requirements
✓
Insert your procedures and equipment information
✓
Use qualified/competent trainers where required
✓
Complete practical/workplace evaluation where required
✓
Keep training and authorization records
https://www.osha.gov/laws-regs/regulations/standardnumber/1910/1910.146
TRAVISTILLEY.COM / PROFESSIONAL SAFETY TRAINING
17 / 17
Notes: Reference slide. Confirm the source before delivery and update site-specific content.